# Oncomine Reporter Update Procedure

|  |  |
| --- | --- |
| **Step** | **Procedure** |
| 1 | Navigate to the link below. <https://thermofisher1.flexnetoperations.com/flexnet/operationsportal/startPage.do> |
| 2 | When prompted, enter the credentials below.  Username: [rayoub@kumc.edu](mailto:rayoub@kumc.edu)  Password: M0lecul@r |
| 3 | In the “Your Downloads” section, click the “Oncomine” link to the “Download Packages” page. Under the “New Versions” tab, “Oncomine Reporter” and “Oncomine Reporter Data” items may be present. The former is for full updates of the Oncomine Reporter (including patches, etc..) and the latter is only for data updates. Follow the same steps for both procedures until otherwise indicated. |
| 4 | Click on the “Oncomine” link. If you are taken to the “Software Terms and Conditions” page, agree to the EULA. Once you accept the EULA, you will be taken a page with the table shown below.    Click on the file name link corresponding to your desired update and make note of the download directory where the zip file is downloaded to. The “Download Selected Files” button did not work for me. |
| 5 | In PowerShell, navigate to the download directory from step 4 and execute the following command with the zip file name appropriately changed. The password is “ionadmin”.  scp oncomine-reporter-[VERSION].zip ionadmin@10.162.33.125:/home/ionadmin  **SCP stands for “Secure Copy”. It may already be installed on your system. If not, contact IT to have it installed for you.** |
| 6 | Use PuTTY to connect to the Oncomine Reporter as shown below. If you want, you can save the session parameters. Click the “Open” button to connect.    **PuTTY is an open-source Windows SSH client. It may already be installed on your system. If not, contact IT to have it installed for you.** |
| 7 | Once the terminal opens, login using ionadmin/ionadmin username and password to authenticate. |
| 8 | Once logged in, you will see the zip file in the ionadmin home directory. Use the unzip command to unzip the zip file. An example of this is shown below. |
| 9 | From above, if you are fully updating the Oncomine Reporter, make a note of the directory the zip file unzipped to. In PuTTY, execute the following commands in order to navigate to the new directory and install the update.  cd [DIR\_NAME]  sudo ./install.sh  From above, if you are only updating the Oncomine Reporter data, the zip file will extract only 2 files directly to the current working directory. In this case, do not navigate out of the ionadmin home directory and instead execute the following command.  sudo ./install.sh |
|  | To confirm the Oncomine Reporter was successfully updated, again, navigate to the link below. <https://thermofisher1.flexnetoperations.com/flexnet/operationsportal/startPage.do> and enter the same credentials as above.  On the Oncomine Reporter home page you will see a message like that shown below. Confirm the version number to complete this procedure. |