# Upgrading the Oncomine Reporter


## Step 1 – Download the Zip File (do not unzip)

Go to: <https://thermofisher1.flexnetoperations.com/flexnet/operationsportal/startPage.do>


Username: [jcrow@kumc.edu](mailto:jcrow@kumc.edu)

Password: CMOL#123A


In the ‘Your Downloads’ section, click the ‘Oncomine’ link.



This takes you to the following screen.




Next, click the ‘Oncomine Reporter’ link and you should see something like this.



Now you can download the zip to your Downloads directory.

## Step 2 – Upload Zip File to Oncomine Reporter


Navigate to your downloads directory where you downloaded the zip file and use **scp** (secure copy) to upload the zip file to the Oncomine Reporter. Make sure to not include the ‘./’ prefix of the filename if you used tab complete for typing in the filename.




## Step 3 – Connect to the Oncomine Reporter with PuTTY

Use Putty to connect to the Oncomine Reporter as shown below. If you want, you can save the session parameters, but this is not necessary. Use the same IP as for the Ion Reporter.


To connect click – ‘Open’.



When the terminal opens, enter ionadmin/ionadmin to login.



Now, unzip the newly uploaded zip file as shown below.



Note the directory it unzipped to. In this case, the directory is OR5\_4. Navigate into directory with the cd command and run the command ‘sudo ./install.sh’

## Step 4 – Confirmation

Now, to confirm installation, go to the Oncomine Reporter.

Username: admin

Password: CMOL#123A

